ITEMS NEEDED FOR REVIEW OF PERMITS FOR DEVELOPMENT WITHIN

AN IDENTIFIED FLOOD HAZARD AREA

1.  A Determination of Base Flood Elevation Form from a registered professional

engineer or registered professional land surveyor providing the base flood elevation

for the development site.  Consideration shall be made for inundation easements or fee

take lines provided for by Trinity River Authority and San Jacinto River Authority,

and recommendations as to elevations above such lines or easements.  The inundation

easement or fee lines of the River Authority plus it’s recommended additional height

to building floor elevation shall control in cases where the elevation exceeds the

natural or determined base flood elevation.

2.  A Development Certification Form and plans in duplicate drawn to scale showing the

location, dimensions, and elevation of proposed landscape alterations, existing and

proposed structures and the location of the foregoing in relation to areas of special

flood hazard; including all specifications and details necessary for complete review of

design for such building construction as may require any flood proofing and for any

filling, dredging, storage of materials, water supply facilities, and sanitary facilities

proposed within the identified flood hazard area.

3.  It is important to involve an engineer or architect in the planning stages of a structure

or project being constructed within a special flood hazard area because a Development

Certification Form will be required from a professional engineer or architect (where

appropriate) following construction that certifies that the permitted activity is in

substantial compliance with Article 5 Sections 5:01 and 5:02 of the Walker County

Regulations for Flood Plain Management and that construction was completed as

specified in the plans.

4.  An elevation certificate on the current Federal form will be required after completion

of any permitted structure showing that the structure was completed in accordance

with required permit elevation requirements.

I, the below signed applicant, do hereby acknowledge that the above information will be required as part of the permitting process and further agree that the information will be provided as requested or required in the process.

___________________________            Date ______________________

Applicant Signature